## Slide 1: Neural Style Transfer for Ultrasound Imaging
Davide Menini
Supervisor: Prof. Orcun Goksel
Advisors: Lin Zhang, Dr. Tiziano Portenier

## Slide 2: Motivation
Simulation of US images is fundamental for the training of specialized medical personnel
Research goal: produce images indistinguishable from real ones in real-time
Simulated images are accurate but still not completely realistic
Our goal: increase quality and realism via Neural Style Transfer
Simulated LQ Image [5]
Simulated HQ Image [5]
Real Clinical US Image [6]
NST
NST

## Slide 3: Neural Style Transfer for US Imaging
Content Image
Style Image
Stylized Image

## Slide 4: Tasks
Low-quality
to
High-quality
Segmentation to
High-quality
High-quality
to
Clinical
SSIM, PSNR
SSIM, PSNR
FID
Content
Style
Target
Metrics

## Slide 5: Thesis Overview
Optimization approach
  Neural Style Transfer
  Augmented Style Loss
  Local Style Transfer
  Average style in feature space
Learning approach
  Perceptual Loss network
  Noise Injection
  Average style in feature space

## Slide 6: Neural Style Transfer (NST)
Optimization approach
  Neural Style Transfer [1]
  Augmented Style Loss
  Local Style Transfer
  Average style in feature space
Learning approach
  Perceptual Loss network
  Noise Injection
  Average style in feature space
Minimize:
Content loss
Style loss
20 min
*
* 3000 iterations on Titan X
VGG-19

## Slide 7: NST with Augmented Style Loss
Optimization approach
  Neural Style Transfer
  Augmented Style Loss [2]
  Local Style Transfer
  Average style in feature space
Learning approach
  Perceptual Loss network
  Noise Injection
  Average style in feature space
Style loss updated with semantic info from masks:
25-75 min
*
* 3000 iterations on Titan X, timing depends on the amount of masks (1 to 10)

## Slide 8: Local Style Transfer
Optimization approach
  Neural Style Transfer
  Augmented Style Loss
  Local Style Transfer
  Average style in feature space
Learning approach
  Perceptual Loss network
  Noise Injection
  Average style in feature space
Masking in the image space:
Mask content with its corresponding masks
Apply NST on the masked content (i.e. locally)
Repeat for all the considered labels
Sum up the local results
…
NST
NST
+ … +
20-200 min
*
* 3000 iterations on Titan X, timing depends on the amount of masks (1 to 10)

## Slide 9: Perceptual Loss Network
Optimization approach
  Neural Style Transfer
  Augmented Style Loss
  Local Style Transfer
  Average style in feature space
Learning approach
  Perceptual Loss network [3]
  Noise Injection [4]
  Average style in feature space
Image Transform Network:
Encoder-decoder CNN with 1.6M parameters
Trained with perceptual loss calculated over features extracted from VGG-19
Real-time style transfer
Addition of noise layers in the decoding section
1 sec

## Slide 10: Average Style
Optimization approach
  Neural Style Transfer
  Augmented Style Loss
  Local Style Transfer
  Average style in feature space
Learning approach
  Perceptual Loss network
  Noise layers
  Average style in feature space
Average style:
Extract features from style images
Average over feature space
Use it as target for NST optimization / training
20 min
*
* 3000 iterations on Titan X, excluding average style creation
…
…
Several style images in the HQ and clinical datasets:

## Slide 11: Style Analysis – Dependence from Style Image
Image
LQ Style
HQ Style
HQ+ Style

## Slide 12: Style Analysis – Comparison
Kandinsky
Clinical (optimization)
HQ (optimization)
LQ (optimization)
HQ (learning)
Clinical (learning)

## Slide 13: Low-Quality to High-Quality – Optimization Approach
Content
Unpaired style
StyleLoss+
StyleLoss
SSIM=50.5%
PSNR=22.56
SSIM=50.9%
PSNR=21.86
Content
Paired style
StyleLoss+
StyleLoss
SSIM=63.5%
PSNR=23.72
SSIM=63.9%
PSNR=23.77

## Slide 14: Low-Quality to High-Quality – Optimization Approach
Content
Unpaired style
StyleLoss+
StyleLoss
Segmentation
Segmentation
Target (paired style)

## Slide 15: Low-Quality to High-Quality – Optimization Approach
StyleLoss+
StyleLoss
Content
Style
Local NST
Average Style
SSIM=50.5%
PSNR=22.56
SSIM=50.9%
PSNR=21.86
SSIM=48.8%
PSNR=22.19
SSIM=54.8%
PSNR=23.19

## Slide 16: Low-Quality to High-Quality – Learning Approach
Content
Style
Image Transform Net
Noise Injection
Average Style
SSIM=74.8%
PSNR=27.29
SSIM=71.8%
PSNR=25.20
SSIM=73.6%
PSNR=26.20
Test Set | Image Transform Net | Noise Injection | Average Style
SSIM | 71.4% | 68.4% | 71.7%
PSNR | 25.78 | 23.87 | 25.96
FID | 148 | 135 | 139

## Slide 17: Segmentation to High-Quality
Content
Style
StyleLoss+
StyleLoss
Image Transform Net
Noise Injection
SSIM=46.2%
PSNR=19.21
SSIM=45.2%
PSNR=18.86
SSIM=42.2%
PSNR=17.37
SSIM=42.3%
PSNR=17.49
FID=308
FID=319

## Slide 18: High-Quality to Clinical – Optimization Approach
StyleLoss+
StyleLoss
Content
Style
Average Style

## Slide 19: High-Quality to Clinical – Learning Approach
Content
Style
Image Transform Net
Noise Injection
Average Style
Test Set | Image Transform Net | Noise Injection | Average Style
FID | 269 | 250 | 230

## Slide 20: Conclusion
The learning approach outperforms the optimization approach:
  Better interpretation of the styles
  Remarkably better scores: SSIM +20%, PSNR +3dB (on average)
  Visually better outcomes
  Better run-time: real-time vs. 20min per style transfer
Optimization outcomes from paired images are significantly better than from unpaired images
The average style helps to make the outcomes more independent from the chosen style images.
The segmentation to high-quality task is not satisfying in almost any case.
Other tasks lead to scores and outcomes which are a good starting point for further research.

## Slide 21: Thanks for your attention!
Menini Davide
dmenini@student.ethz.ch

## Slide 22: Bibliography
[1] Leon A. Gatys, Alexander S. Ecker, and Matthias Bethge. A neural algorithm of artistic style, 2015.
[2] Justin Johnson, Alexandre Alahi, and Li Fei-Fei. Perceptual losses for real-time style transferand super-resolution, 2016.
[3] Fujun Luan, Sylvain Paris, Eli Shechtman, and Kavita Bala. Deep photo style transfer, 2017.
[4] Tero Karras, Samuli Laine, and Timo Aila. A style-based generator architecture for generative adversarial networks, 2018.
[5] Oliver Mattausch, Maxim Makhinya, and Orcun Goksel. Realistic ultrasound simulation of complex surface models using interactive monte-carlo path tracing, 2018.
[6] T.L.A. van den Heuvel, Dagmar de Bruijn, Chris L. de Korte, and Bram van Ginneken. Automated measurement of fetal head circumference, 2018.